## Slide 1: A POWERPOINT PRESENTATION ON 33/11 KV PATRANGA AYODHYA
A Industrial training 33/11 kv Substation
Submitted To:-
(Lecturer Electrical Engineering)
Submitted by:-
Name:-
Branch :- Electrical Engineering 2nd year

## Slide 2: CONTENTS
WHAT IS GRID SUBSTATION
LIGHTNING ARRESTER
BUS BAR
POTENTIAL TRANSFORMER
ISOLATOR
CURRENT TRANSFORMER
PROTECTIVE RELAY
CIRCUIT BREAKER
TRANSFORMER
CONTROL ROOM

## Slide 3: WHAT IS GRID SUB STATION (GSS) ?
"A Substation is an assembly by apparatus , which transform the characteristics of electrical energy from one form another Say from one voltage level to another level ,Hence a substation is an intermediate link between the generating station and consumer.
For economic transmission voltage should be high =>step up
Transmitted voltage for distribution =>step-down
For this purpose substations are installed.

## Slide 4: INCOMING FEEDERS(33KV)
Ram Sanehi Ghat
OUTGOING FEEDERS(11kv)
Patranga
Mavai
Aliayabad
Bajitpur
Purekamgar
Barhuva

## Slide 5: LIGHTNING ARRESTER :-
Lightning arrester is a device used on electric power transmission and telecommunication systems to protect the insulation and conductors of the system from the damaging effects of lightning. The typical lightning arrester has a high-voltage terminal and a ground terminal.

## Slide 6: BUSBAR
In a substation, a busbar acts as a central electrical connection point, distributing power from incoming feeders to outgoing circuits. It's a metallic conductor, often a strip or bar, that simplifies complex power distribution by providing a common junction for multiple connections. This allows for efficient and flexible power management within the substation.

## Slide 7: POTENTIAL TRANSFORMER
A Potential Transformer (PT) is an instrument transformer that steps down high system voltages to a safe, standardized value (generally 110 V) for accurate measurement, metering, and protection.

## Slide 8: ISOLATOR :-
An Isolator is an off-load device used to disconnect a circuit or equipment from the power supply for maintenance, providing a visible and safe isolation.

## Slide 9: CURRENT TRANSFORMER :-
A Current Transformer (CT) is an instrument transformer that reduces high current to a standard value (5A or 1A) for safe measurement, metering, and protection purposes.

## Slide 10: RELAY
A Relay is a protective device that detects abnormal conditions in an electrical circuit and sends a signal to the circuit breaker to disconnect the faulty section.

## Slide 11: CIRCUIT BREAKER
A Circuit Breaker is an automatic protective device that interrupts normal and fault currents to protect the electrical system from damage.

## Slide 12: TRANSFORMER
A Transformer is a static device that transfers electrical energy between two circuits at the same frequency, mainly for stepping up or stepping down voltage.

## Slide 13: CONTROL ROOM

## Slide 15: THANK YOU