## Slide 1
MADHYANCHAL ELECTRICITY DISTRIBUTION CORPORATION LTD,
33/11kV SUBSTATION BAREL,
BARABANKI (UP)
A Presentation
on
Presented By :
Abhay Mishra &
Pranjal vishwakarma
Branch : Electrical Engineering 2nd Year
Government Polytechnic Jamuniya Deeh Harakh, Barabanki, (UP)
Submitted By :
Sakshi Ma’am
(Lecturer Electrical Engineering)
Notes: Powered By : Aeronix Aavyuh

## Slide 2
Overview
Transformer
Current Transformer
Potential Transformer
Bus Coupler
Circuit Breaker
Lighting Arrester
Bus Bar
Switch Gear
Isolator
Battery Room
Fire Extinguisher
Control Room
Certificate

## Slide 3
Transformer (8MVA)
BHEL, Bharat Heavy Electrical Ltd.
Telangana (Hyderabad)

## Slide 4
To connect two busbars and allow power transfer between them.
To isolate or sectionalize parts of the system for maintenance or fault.
Bus Coupler

## Slide 5
To connect two busbars and allow power transfer between them.
To isolate or sectionalize parts of the system for maintenance or fault.
Bus Coupler

## Slide 6
To automatically interrupt the flow of electric current in case of overload or fault.
To protect electrical equipment and ensure safety of the power system.
Circuit Breaker

## Slide 7
To protect electrical equipment from high-voltage lightning strikes.
To safely divert the lightning current to the ground.
Lighting Arrester

## Slide 8
To carry and distribute electrical power efficiently.
To connect multiple circuits within a switchgear or
substation.
Bus Bar

## Slide 9
To control, protect, and isolate electrical equipment in a power system.
To ensure safe and reliable operation of the electrical network.
Switch Gear

## Slide 10
To disconnect a part of the electrical circuit for maintenance or safety.
To ensure that the section is completely de-energized before work.
Isolator

## Slide 11
To safely store and house batteries used for backup power supply.
To provide continuous power during outages or emergency situations.
Battery Room

## Slide 12
Fire Extinguisher

## Slide 13
Control Room
To monitor and control the operation of electrical or industrial systems.
To ensure safe, efficient, and continuous functioning of the plant or network.

## Slide 14
Certificate

## Slide 15
Certificate

## Slide 16
THANK YOU!